{"text_format":"5","workbook":"xls","n_sheets":3,"sheets":["연료원별","한계가격","Sheet3"],"props":{"creator":"손기원","last_modified_by":"손기원","company":"전력거래소"},"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"연료원별","index":0,"n_rows":14,"n_cols":5,"rows_kept":14,"merged":[[0,0,0,4]],"flags":["formulas_cached_only"]}
["연료원별 통계자료"]
[]
["기간 : 2007.10.01 ~ 2007.10.31"]
["연료원명","설비용량(MW)","공급가능용량(GWh)","전력거래량(GWh)","정산금액(천원)"]
["원자력",{"v":17715.683,"d":"17,716"},{"v":10946.216817,"d":"10,946"},{"v":10902.561460593,"d":"10,903"},{"v":431451093.13541,"d":"431,451,093"}]
["유연탄",{"v":19658.105,"d":"19,658"},{"v":12296.885662,"d":"12,297"},{"v":11770.5090899384,"d":"11,771"},{"v":483776515.928502,"d":"483,776,516"}]
["무연탄",{"v":1125,"d":"1,125"},{"v":707.531772,"d":"708"},{"v":508.6778838,"d":"509"},{"v":40793798.257522,"d":"40,793,798"}]
["수력",{"v":1536.35,"d":"1,536"},{"v":310.088,"d":"310"},{"v":310.220227387,"d":"310"},{"v":30679002.024868,"d":"30,679,002"}]
["양수",{"v":3900,"d":"3,900"},{"v":163.584,"d":"164"},{"v":65.233374537,"d":"65"},{"v":15558396.522994,"d":"15,558,397"}]
["중유",{"v":5455.1,"d":"5,455"},{"v":3472.095295,"d":"3,472"},{"v":965.553402366,"d":"966"},{"v":129440559.830377,"d":"129,440,560"}]
["LNG",{"v":14664.689,"d":"14,665"},{"v":9926.372504,"d":"9,926"},{"v":5802.332075834,"d":"5,802"},{"v":608649637.191036,"d":"608,649,637"}]
["기타",{"v":3198.91,"d":"3,199"},{"v":88.734294,"d":"89"},{"v":163.207852788,"d":"163"},{"v":16122878.351489002,"d":"16,122,878"}]
["총계",{"v":67253.837,"d":"67,254"},{"v":37911.508344,"d":"37,912"},{"v":30488.2953672434,"d":"30,488"},{"v":1756471881.242198,"d":"1,756,471,881"}]
["※ 초기정산완료 전 정산자료가 일부 포함될 수 있음을 알려드립니다."]

{"sheet":"한계가격","index":1,"n_rows":37,"n_cols":28,"rows_kept":37,"merged":[[1,0,1,27]],"flags":["formulas_cached_only"]}
[]
["한계가격 분석"]
[]
["조회기간 : 월간(2007-10-01~2007-10-31)"]
["거래일","1시","2시","3시","4시","5시","6시","7시","8시","9시","10시","11시","12시","13시","14시","15시","16시","17시","18시","19시","20시","21시","22시","23시","24시","최대","최소","가중평균"]
["20071001",74.91,74.91,28.01,23,51.46,73.88,78.46000000000001,88.2,90.39,98.04,93.26,93.13,98.04,98.04,98.04,98.04,103.25,109.01,106.13,109.01,98.81,98.04,89.82000000000001,85.42,109.01,23,{"v":88.4240719354591,"d":"88.42"}]
["20071002",82.48,82.48,82.48,82.48,82.48,82.48,86.44,98.4,97.74000000000001,105.9,114.75,116.74000000000001,102.06,124.5,129.64000000000001,129.64000000000001,124.5,104.11,99.67,99.67,97.74000000000001,97.74000000000001,93.02,93.02,129.64000000000001,82.48,{"v":101.6298994451087,"d":"101.63"}]
["20071003",78.59,78.49,78.3,76.25,77.23,77.25,78.34,78.34,78.32000000000001,83.05,83.05,83.05,83.05,81.47,81.47,81.47,82.34,87.95,101.18,92.04,89.28,89.47,88.10000000000001,82.34,101.18,76.25,{"v":83.2619929452552,"d":"83.26"}]
["20071004",78.06,77.8,74.73,74.71000000000001,74.71000000000001,78.33,78.39,86.48,92.94,96.26,98.69,99.38,85.95,98.69,98.69,98.69,92.03,97.60000000000001,135.8,98.76,98.76,101.89,96.43,85.41,135.8,74.71000000000001,{"v":92.8723168623683,"d":"92.87"}]
["20071005",88.77,77.65,77.24,76.19,76.25,78.10000000000001,78.65,80.95,91.39,101.34,114.02,114.02,98.46000000000001,109.67,108.29,101.17,101.17,101.99000000000001,103.95,114.02,113.81,106.68,95.48,91.67,114.02,76.19,{"v":97.0639806260994,"d":"97.06"}]
["20071006",79.84,79.82000000000001,79.68,76.3,76.3,78.73,78.73,78.76,82.69,86.55,95.25,95.25,95.25,95.25,82.3,82.3,82.3,78.2,82.3,82.3,82.3,82.3,82.3,82.3,95.25,76.3,{"v":83.4512163139975,"d":"83.45"}]
["20071007",79.24,76.23,75,75,74.83,75,75.07000000000001,75,76.89,78.24,78.24,81.01,80.82000000000001,77.96000000000001,77.96000000000001,77.96000000000001,77.96000000000001,77.96000000000001,78.63,80.7,80.93,80.7,80.98,80.78,81.01,74.83,{"v":78.1655970187919,"d":"78.17"}]
["20071008",74.89,74.86,28.29,22.740000000000002,51.46,73.8,78.34,80.22,84.75,88.2,92.60000000000001,103.10000000000001,85.72,92.60000000000001,99.54,94.36,94.36,92.60000000000001,105.93,99.4,99.2,99.2,85.61,84.75,105.93,22.740000000000002,{"v":85.2029963662179,"d":"85.20"}]
["20071009",78.28,77.65,77.09,74.57000000000001,74.58,78.42,78.45,86.14,90.36,94.59,100.61,106.59,87.85000000000001,90.36,100.61,100.61,97.98,90.36,100.61,105.94,94.59,90.36,89.84,84.51,106.59,74.57000000000001,{"v":90.3908855425895,"d":"90.39"}]
["20071010",78.37,77.76,77.08,76.22,76.22,78.53,78.53,80.04,86.06,93.13,92.27,96.65,88.95,92.17,102,99.2,99.2,92.27,99.94,98.93,91.06,84.93,84.93,84.56,102,76.22,{"v":88.5273158340471,"d":"88.53"}]
["20071011",77.94,77.82000000000001,77.21000000000001,76.22,78.11,78.2,78.2,80.21000000000001,89.15,90.27,102.35000000000001,102.35000000000001,89.15,90.27,90.27,90.27,90.27,90.27,102.35000000000001,102.35000000000001,94.62,102.35000000000001,102.35000000000001,91.67,102.35000000000001,76.22,{"v":90.0428239723362,"d":"90.04"}]
["20071012",78.05,77.98,77.16,76.19,78.34,78.38,78.38,80.22,90.9,101.42,90.9,90.9,85.86,90.9,90.9,93.69,93.69,96.32000000000001,102.66,102.66,96.32000000000001,88.06,88.36,91.07000000000001,102.66,76.19,{"v":88.9336401628856,"d":"88.93"}]
["20071013",79,79.27,78.92,77.13,77.14,78.33,78.38,78.38,93.08,93.08,93.08,97.43,93.08,93.08,85.54,85.54,81.39,81.39,85.91,85.91,81.39,85.91,85.91,78.92,97.43,77.13,{"v":84.6441534703247,"d":"84.64"}]
["20071014",78.08,78,76.15,76.15,76.15,78.22,78.22,78.22,77.94,77.94,77.94,77.66,78.55,77.66,77.66,77.66,78.54,78.34,81.41,81.41,81.66,81.43,81.60000000000001,81.64,81.66,76.15,{"v":78.7701364940799,"d":"78.77"}]
["20071015",79,74.82000000000001,73.8,62.51,66.66,78.13,78.13,78.38,92.19,105.39,92.19,92.19,92.19,105.39,92.19,92.19,92.19,92.19,94.46000000000001,105.39,92.19,92.19,92.19,80.71000000000001,105.39,62.51,{"v":88.5577111887746,"d":"88.56"}]
["20071016",77.98,78.04,77.98,77.98,77.98,78.32000000000001,80.73,80.73,87.04,95.77,87.04,93.27,86.66,86.66,91.96000000000001,91.67,89.97,89.97,105.38,94.4,87.04,91.12,93.17,90.21000000000001,105.38,77.98,{"v":87.6313680165841,"d":"87.63"}]
["20071017",78.15,77.94,77.2,76.09,76.21000000000001,78.11,78.22,82.58,87.72,94.31,93.84,94.3,82.58,83.87,94.31,83.87,90.77,89.31,103.62,95.89,92.07000000000001,94.31,94.31,82.58,103.62,76.09,{"v":87.2815511107491,"d":"87.28"}]
["20071018",78.46000000000001,78.55,77.23,76.25,76.33,78.27,78.29,78.37,87.64,87.64,87.64,87.33,86.19,86.19,86.19,86.97,86.97,93.74,106.94,99.02,95.2,93.84,95.2,87.87,106.94,76.25,{"v":87.0207662842208,"d":"87.02"}]
["20071019",78,78.22,77.05,77.03,77.81,77.97,78.16,82.81,86.56,96.93,96.94,96.94,86.41,86.41,92.53,86.41,86.41,93.24,106.44,96.23,93.24,90.95,99.65,90.83,106.44,77.03,{"v":88.6069660926598,"d":"88.61"}]
["20071020",79.79,79.54,77.79,77.79,77.79,77.79,79.92,78.07000000000001,81.61,81.62,81.62,81.62,78.52,81.62,81.62,81.62,77.77,77.77,81.62,81.62,81.62,81.62,81.62,81.62,81.62,77.77,{"v":80.2022816277848,"d":"80.20"}]
["20071021",79.38,77.58,75.13,73.61,74.85000000000001,76.89,76.89,76.89,76.82000000000001,76.82000000000001,76.82000000000001,76.72,77.73,77.73,77.73,77.73,77.73,77.94,78.36,82.7,82.67,78.36,82.78,82.78,82.78,73.61,{"v":78.1234082003186,"d":"78.12"}]
["20071022",74.94,74.77,23.04,22.66,22.95,73.85000000000001,78.22,78.3,80.89,80.89,80.89,80.87,80.87,80.87,80.87,80.87,80.87,85.28,91.82000000000001,92.65,85.28,85.28,93.32000000000001,80.89,93.32000000000001,22.66,{"v":76.3253468056107,"d":"76.33"}]
["20071023",78.08,78.28,76.27,76.17,76.17,78.24,78.31,80.95,81.06,99.46000000000001,94.87,95.01,80.9,80.9,87.26,85.25,85.88,89.47,102.99000000000001,102.67,89.47,89.47,103.17,102.67,103.17,76.17,{"v":87.7462231135477,"d":"87.75"}]
["20071024",80.4,78.06,78.06,78.06,78.06,78.38,78.38,81.46000000000001,87.12,98,97.46000000000001,99.61,86.66,89.75,97.45,89.75,89.75,89.75,102.66,102.66,89.75,91.19,99.73,98.07000000000001,102.66,78.06,{"v":89.7131059922705,"d":"89.71"}]
["20071025",78.12,77.98,77.08,77.06,78.06,78.19,78.27,81.12,84.55,102.99000000000001,99.44,95.9,81.07000000000001,84.60000000000001,88.76,84.60000000000001,84.60000000000001,84.60000000000001,99.54,95.63,91.45,91.62,96.97,98.44,102.99000000000001,77.06,{"v":87.6216296958754,"d":"87.62"}]
["20071026",78.01,78,78,78,78.28,78.28,78.28,87.57000000000001,89.04,102.24000000000001,102.24000000000001,97.95,89.04,92.51,102.24000000000001,89.3,93.27,95.77,102.24000000000001,97.57000000000001,88.01,97.99000000000001,106.15,99.85000000000001,106.15,78,{"v":91.4140431967323,"d":"91.41"}]
["20071027",79.21000000000001,79.35000000000001,78.15,78.15,78.15,78.15,79.74,78.83,78.65,79.77,78.65,79.74,79.18,79.77,79.77,79.7,77.82000000000001,78.09,79.77,79.72,78.72,79.47,79.77,79.77,79.77,77.82000000000001,{"v":79.1041174833898,"d":"79.10"}]
["20071028",80.37,80.37,75.38,74.47,75.37,75.4,75.4,75.39,73.57000000000001,74.60000000000001,75.37,75.38,75.23,75.38,75.37,74.61,75.37,75.37,81.72,81.75,78.31,79.62,81.91,81.67,81.91,73.57000000000001,{"v":77.1120814914772,"d":"77.11"}]
["20071029",79,74.87,51.410000000000004,28.59,70.15,74.87,78.19,78.28,97.4,97.4,97.4,97.4,77.98,81,78.43,78.43,81.48,86.58,86.78,82.26,82.26,97.4,97.4,97.4,97.4,28.59,{"v":82.6890036932444,"d":"82.69"}]
["20071030",78.53,78.67,77.89,77.89,77.89,78.21000000000001,78.21000000000001,81.09,89.49,96.91,89.49,89.49,81.05,82.28,84.92,84.92,87.24,90.03,97.02,89.61,84.92,84.92,88.46000000000001,84.92,97.02,77.89,{"v":85.0921681315618,"d":"85.09"}]
["20071031",78.42,78.24,77.83,77.83,77.83,78.17,78.17,80.99,93.99,95.53,93.99,93.99,80.94,84.4,85.17,85.17,85.17,83.62,102.53,92.54,92.54,89.63,93.95,85.17,102.53,77.83,{"v":86.4517645463831,"d":"86.45"}]
["가중평균",78.82,77.93,72.06,70.12,73.4,77.62,78.54,81.11,86.7,92.63,92.56,93.6,85.87,89.17,90.88,89,88.97,89.22,97.75,94.81,90.12,90.51,91.36,87.39,135.8,22.66,86.4]

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}