{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["에너지사용량"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"에너지사용량","index":0,"n_rows":15,"n_cols":4,"rows_kept":15,"cut":false,"hidden":false,"merged":[[0,0,0,3],[1,0,1,3]]}
["2021년도 에너지 사용량"]
[]
["월별","전력(kWh)","수도(㎥)","비 고"]
["1월",555372,1920]
["2월",472554,1886]
["3월",484050,1730]
["4월",437059,1506]
["5월",449118,2136]
["6월",523414,1949]
["7월",633137,2196]
["8월",631694,2326]
["9월",529282,3009]
["10월",526727,2460]
["11월",507867,2197]
["12월",561134,2079]