{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["에너지사용량"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"에너지사용량","index":0,"n_rows":15,"n_cols":4,"rows_kept":15,"cut":false,"hidden":false,"merged":[[0,0,0,3],[1,0,1,3]]}
["2022년도 에너지 사용량"]
[]
["월별","전력(kWh)","수도(㎥)","비 고"]
["1월",568944,1929]
["2월",507960,2115]
["3월",547992,1690]
["4월",426076,1540]
["5월",465181,2172]
["6월",508909,1831]
["7월",604814,2136]
["8월",623271,2795]
["9월",520619,2719]
["10월",467195,2511]
["11월",464286,2800]
["12월",513494,2207]