{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["powerSource_20251029"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"powerSource_20251029","index":0,"n_rows":131,"n_cols":14,"rows_kept":131,"cut":false,"hidden":false,"merged":[[0,0,0,13]]}
["발전원별실시간전력수급현황"]
["날짜","시간","태양광(BTM,추정)","태양광(PPA,추정)","태양광(전력시장)","양수","수력","가스","풍력","신재생","유류","국내탄","유연탄","원자력"]
["2025-10-29","00:00",0.0,0.0,0.0,713.411,718.501,18937.9,248.54,3190.31,272.563,180.002,18547.6,17645.8]
["2025-10-29","00:05",0.0,0.0,0.0,693.699,736.242,18788.7,252.202,3236.48,272.941,179.141,18486.2,17648.0]
["2025-10-29","00:10",0.0,0.0,0.0,737.276,746.183,18452.9,248.5,3187.93,273.422,178.757,18526.4,17631.8]
["2025-10-29","00:15",0.0,0.0,0.0,378.791,746.283,18475.7,251.723,3249.97,272.926,179.984,18601.7,17650.5]
["2025-10-29","00:20",0.0,0.0,0.0,402.254,748.684,18325.9,249.428,3202.32,272.537,179.178,18528.3,17639.2]
["2025-10-29","00:25",0.0,0.0,0.0,396.308,747.512,17695.0,247.971,3198.09,272.898,179.178,18543.2,17652.9]
["2025-10-29","00:30",0.0,0.0,0.0,403.65,748.233,17519.5,253.007,3177.8,272.753,178.317,18726.9,17654.8]
["2025-10-29","00:35",0.0,0.0,0.0,394.433,715.866,17426.2,256.637,3264.85,272.558,178.152,18520.2,17651.5]
["2025-10-29","00:40",0.0,0.0,0.0,365.623,715.092,17113.4,256.542,3218.95,233.141,179.709,18549.2,17649.2]
["2025-10-29","00:45",0.0,0.0,0.0,81.7532,719.542,17201.4,254.034,3248.64,214.019,179.416,18701.1,17629.8]
["2025-10-29","00:50",0.0,0.0,0.0,0.0,714.87,16979.2,253.055,3284.73,214.372,179.453,18469.8,17654.2]
["2025-10-29","00:55",0.0,0.0,0.0,0.0,721.975,17072.9,249.655,3301.59,201.176,179.233,18549.0,17640.1]
["2025-10-29","01:00",0.0,0.0,0.0,0.0,720.417,16994.5,243.064,3213.06,174.272,180.167,18631.6,17645.9]
["2025-10-29","01:05",0.0,0.0,0.0,0.0,717.949,16923.3,238.797,3279.02,191.508,179.398,18498.8,17628.6]
["2025-10-29","01:10",0.0,0.0,0.0,0.0,716.128,16482.5,231.249,3256.66,198.454,179.709,18460.4,17657.1]
["2025-10-29","01:15",0.0,0.0,0.0,0.0,718.69,16415.9,220.624,3244.27,197.929,178.372,18541.7,17649.2]
["2025-10-29","01:20",0.0,0.0,0.0,0.0,718.923,16192.6,217.265,3259.52,198.518,177.823,18499.1,17664.8]
["2025-10-29","01:25",0.0,0.0,0.0,0.0,719.958,16091.3,224.062,3196.05,198.351,179.416,18608.3,17642.9]
["2025-10-29","01:30",0.0,0.0,0.0,0.0,718.848,15918.1,221.389,3203.53,198.178,179.562,18616.2,17658.4]
["2025-10-29","01:35",0.0,0.0,0.0,0.0,718.486,15894.5,214.673,3270.16,198.611,178.958,18542.8,17640.4]
["2025-10-29","01:40",0.0,0.0,0.0,0.0,718.709,15707.2,206.692,3209.41,198.574,179.196,18508.2,17639.7]
["2025-10-29","01:45",0.0,0.0,0.0,0.0,717.786,15647.9,202.04,3239.02,198.355,178.702,18535.2,17663.3]
["2025-10-29","01:50",0.0,0.0,0.0,0.0,718.593,15531.7,201.011,3195.87,198.879,179.086,18591.7,17661.0]
["2025-10-29","01:55",0.0,0.0,0.0,0.0,718.095,15281.1,200.266,3237.54,198.414,178.683,18420.9,17640.1]
["2025-10-29","02:00",0.0,0.0,0.0,0.0,730.072,15276.5,201.983,3260.74,198.527,179.233,18515.4,17660.2]
["2025-10-29","02:05",0.0,0.0,0.0,-5.97656,726.979,15266.2,206.609,3190.5,198.613,179.123,18493.1,17663.9]
["2025-10-29","02:10",0.0,0.0,0.0,-46.752,728.919,15168.6,200.535,3283.72,198.088,178.848,18564.7,17657.3]
["2025-10-29","02:15",0.0,0.0,0.0,-630.533,728.334,15324.8,197.693,3209.39,198.738,179.031,18710.9,17636.4]
["2025-10-29","02:20",0.0,0.0,0.0,-647.32,726.366,15593.1,194.957,3220.09,198.659,177.841,18507.2,17635.2]
["2025-10-29","02:25",0.0,0.0,0.0,-647.49,722.017,15478.4,189.297,3197.72,198.175,179.324,18469.0,17641.6]
["2025-10-29","02:30",0.0,0.0,0.0,-1021.72,729.376,15450.7,195.085,3191.75,198.64,178.94,18587.5,17659.5]
["2025-10-29","02:35",0.0,0.0,0.0,-1183.13,726.735,15695.0,198.779,3258.16,198.849,178.683,18631.9,17646.6]
["2025-10-29","02:40",0.0,0.0,0.0,-1552.89,730.651,16066.3,199.839,3241.9,198.544,178.995,18617.7,17650.6]
["2025-10-29","02:45",0.0,0.0,0.0,-1781.2,728.531,16352.2,202.34,3269.14,198.45,179.416,18628.3,17648.7]
["2025-10-29","02:50",0.0,0.0,0.0,-1783.32,728.1,16411.4,192.517,3208.22,198.507,178.867,18552.5,17668.4]
["2025-10-29","02:55",0.0,0.0,0.0,-1785.24,725.646,15980.7,185.752,3241.34,198.624,178.665,18453.1,17648.3]
["2025-10-29","03:00",0.0,0.0,0.0,-1781.21,728.835,16177.2,183.454,3218.06,199.406,179.031,18570.9,17649.4]
["2025-10-29","03:05",0.0,0.0,0.0,-1778.78,728.505,16342.0,181.173,3204.52,201.592,179.269,18621.2,17640.7]
["2025-10-29","03:10",0.0,0.0,0.0,-1779.75,727.336,16221.5,178.441,3199.43,200.326,178.702,18574.3,17637.8]
["2025-10-29","03:15",0.0,0.0,0.0,-1778.92,727.452,16052.4,179.65,3204.1,200.314,180.075,18637.5,17654.2]
["2025-10-29","03:20",0.0,0.0,0.0,-1778.59,728.679,16303.1,182.18,3218.61,198.783,179.544,18587.3,17657.2]
["2025-10-29","03:25",0.0,0.0,0.0,-1780.42,726.204,16107.2,177.954,3235.79,199.101,178.574,18490.0,17646.1]
["2025-10-29","03:30",0.0,0.0,0.0,-1780.35,726.1,15912.4,178.064,3324.27,198.737,179.233,18519.1,17631.1]
["2025-10-29","03:35",0.0,0.0,0.0,-1778.15,728.183,16075.5,180.745,3213.53,195.69,179.324,18547.8,17644.6]
["2025-10-29","03:40",0.0,0.0,0.0,-1775.17,728.68,15970.8,181.326,3232.82,196.326,179.892,18605.7,17636.2]
["2025-10-29","03:45",0.0,0.0,0.0,-1775.2,726.561,15847.9,186.234,3216.31,196.782,178.976,18611.1,17659.4]
["2025-10-29","03:50",0.0,0.0,0.0,-1778.97,725.662,15839.8,184.242,3280.17,195.995,179.416,18511.0,17645.7]
["2025-10-29","03:55",0.0,0.0,0.0,-1772.27,728.858,15652.4,185.409,3314.56,196.571,179.123,18646.2,17629.2]
["2025-10-29","04:00",0.0,0.0,0.0,-1775.33,729.161,16048.6,187.125,3286.26,196.562,178.372,18624.9,17636.3]
["2025-10-29","04:05",0.0,0.0,0.0,-1774.5,731.16,16275.8,185.807,3235.09,196.773,178.574,18715.3,17649.2]
["2025-10-29","04:10",0.0,0.0,0.0,-1774.93,728.601,16403.5,181.755,3239.22,198.179,178.574,18616.7,17648.4]
["2025-10-29","04:15",0.0,0.0,0.0,-1773.79,727.83,16192.7,178.59,3244.34,197.722,179.269,18627.8,17668.5]
["2025-10-29","04:20",0.0,0.0,0.0,-1772.02,727.755,16246.2,170.891,3266.94,198.784,178.683,18584.7,17640.1]
["2025-10-29","04:25",0.0,0.0,0.0,-1770.68,727.563,16208.4,172.936,3265.43,196.697,178.61,18629.7,17654.7]
["2025-10-29","04:30",0.0,0.0,0.0,-1774.78,725.821,16395.0,178.434,3289.83,197.169,178.482,18516.4,17640.6]
["2025-10-29","04:35",0.0,0.0,0.0,-1771.59,728.316,16465.0,186.065,3253.16,197.167,178.372,18583.6,17641.6]
["2025-10-29","04:40",0.0,0.0,0.0,-1771.52,727.665,16497.9,182.185,3287.33,196.997,178.281,18508.5,17635.5]
["2025-10-29","04:45",0.0,0.0,0.0,-1436.02,728.587,16411.9,185.703,3272.1,198.133,179.178,18571.4,17661.7]
["2025-10-29","04:50",0.0,0.0,0.0,-1436.67,728.543,16432.8,190.138,3312.61,196.821,178.372,18560.3,17620.7]
["2025-10-29","04:55",0.0,0.0,0.0,-1231.97,727.004,16011.2,194.117,3266.3,196.995,178.867,18561.1,17641.1]
["2025-10-29","05:00",2.8498,10.5077,6.45655,-1231.58,687.92,16177.4,195.269,3251.8,197.177,179.434,18631.0,17647.6]
["2025-10-29","05:05",2.86673,10.283,6.26181,-1230.74,679.62,16679.8,205.256,3262.55,197.639,178.976,18633.7,17642.6]
["2025-10-29","05:10",2.94492,9.7875,5.63138,-1229.34,679.402,16731.4,207.44,3271.55,197.146,178.867,18641.9,17630.3]
["2025-10-29","05:15",3.06433,11.0669,6.65306,-902.247,675.944,16707.7,207.202,3333.03,196.953,178.592,18490.5,17657.4]
["2025-10-29","05:20",2.86222,10.2076,6.00178,-900.281,681.092,16906.2,207.411,3268.04,197.599,179.086,18631.4,17644.2]
["2025-10-29","05:25",2.74329,9.53108,5.49943,-523.477,680.49,16756.6,210.936,3260.03,198.105,178.281,18469.2,17663.1]
["2025-10-29","05:30",3.13121,10.8546,6.60762,-522.773,680.874,16937.0,207.383,3258.18,197.529,177.805,18434.7,17637.1]
["2025-10-29","05:35",3.00231,10.833,6.23525,-261.516,672.013,16945.8,208.087,3295.94,197.84,179.196,18238.8,17646.4]
["2025-10-29","05:40",3.32536,11.1831,6.76896,-259.453,677.507,17276.8,207.397,3278.14,197.647,179.269,18476.6,17641.7]
["2025-10-29","05:45",3.1318,11.4159,7.04858,-260.25,675.142,17573.8,211.87,3280.7,198.184,178.958,18384.7,17649.2]
["2025-10-29","05:50",3.1246,10.3566,6.06631,-260.297,676.6,17555.4,211.063,3274.45,198.276,179.196,18341.3,17645.5]
["2025-10-29","05:55",3.0928,11.2465,6.66281,0.0,674.658,17526.9,209.872,3273.31,197.232,179.306,18271.6,17654.2]
["2025-10-29","06:00",3.20511,11.2911,7.11922,0.0,679.019,17693.6,214.848,3327.13,197.966,179.178,18380.4,17634.1]
["2025-10-29","06:05",3.39324,11.6135,7.18707,0.0,680.721,18289.1,221.47,3342.45,198.984,179.398,18462.5,17649.0]
["2025-10-29","06:10",3.58869,12.2937,7.85643,0.0,677.191,18748.7,223.147,3313.72,199.25,178.683,18213.0,17653.4]
["2025-10-29","06:15",3.25813,11.6095,7.09351,0.0,679.71,19218.9,223.899,3271.75,198.192,178.958,18296.3,17643.1]
["2025-10-29","06:20",3.2994,11.9128,7.93006,0.0,677.74,19475.2,224.423,3393.55,198.911,179.544,18290.5,17634.5]
["2025-10-29","06:25",3.11199,11.3162,7.20232,0.0,676.505,19576.2,233.154,3424.83,197.87,179.471,18182.9,17643.4]
["2025-10-29","06:30",3.38703,11.8157,7.44987,0.0,677.544,20046.5,232.707,3266.44,198.328,179.086,18314.4,17622.9]
["2025-10-29","06:35",3.12313,11.4654,7.29986,0.0,677.792,20318.8,229.904,3268.67,197.221,178.537,18230.2,17646.9]
["2025-10-29","06:40",3.26421,11.5625,7.18388,0.0,677.546,20296.3,234.248,3341.16,197.442,178.995,18237.5,17646.8]
["2025-10-29","06:45",3.11099,10.9875,6.97331,0.0,679.522,20765.7,233.444,3350.75,197.951,178.757,18345.7,17661.4]
["2025-10-29","06:50",3.6057,12.5582,8.13294,0.0,680.064,20983.9,228.941,3355.93,197.284,179.709,18324.2,17636.8]
["2025-10-29","06:55",3.81897,13.2153,8.44407,0.0,678.035,21339.6,229.224,3272.54,198.37,179.892,18373.5,17641.3]
["2025-10-29","07:00",5.00166,16.8014,10.7615,0.0,679.057,21937.2,226.059,3274.71,197.903,178.683,18396.5,17651.6]
["2025-10-29","07:05",10.637,36.2187,26.0614,0.0,677.579,22545.5,223.77,3315.67,197.07,178.61,18211.2,17653.1]
["2025-10-29","07:10",17.5749,59.1073,40.8111,0.0,694.134,22867.6,222.49,3287.88,197.144,179.416,18331.6,17656.6]
["2025-10-29","07:15",30.7383,107.078,68.909,0.0,695.907,23379.1,216.001,3316.44,196.936,178.226,18316.9,17652.5]
["2025-10-29","07:20",50.8847,179.311,110.349,0.0,690.828,23611.7,208.855,3334.7,196.912,178.464,18303.5,17647.1]
["2025-10-29","07:25",80.843,287.379,169.526,0.0,688.988,23529.2,211.441,3299.31,196.658,179.837,18308.1,17628.1]
["2025-10-29","07:30",118.245,424.107,246.332,0.0,687.955,23471.1,206.447,3285.79,196.952,178.848,18214.3,17656.0]
["2025-10-29","07:35",161.923,575.621,332.993,0.0,690.936,23671.3,206.812,3229.7,197.047,178.94,18426.3,17637.9]
["2025-10-29","07:40",214.962,755.862,437.752,0.0,689.435,23462.5,205.474,3236.34,197.101,179.453,18270.4,17662.9]
["2025-10-29","07:45",272.085,949.364,549.976,0.0,690.273,23467.8,207.304,3242.55,197.513,179.819,18402.2,17647.0]
["2025-10-29","07:50",336.645,1167.36,677.839,0.0,689.343,23536.9,200.529,3218.63,197.152,179.416,18295.4,17648.7]
["2025-10-29","07:55",407.238,1410.83,822.419,0.0,689.793,23273.4,201.812,3207.6,196.425,178.592,18184.4,17657.3]
["2025-10-29","08:00",485.131,1686.61,977.784,0.0,747.407,23197.3,190.508,3210.9,197.599,179.269,18384.2,17645.7]
["2025-10-29","08:05",571.235,1985.36,1150.09,0.0,767.117,23597.6,177.59,3203.44,191.03,178.867,18231.4,17640.3]
["2025-10-29","08:10",671.164,2320.65,1340.26,0.0,759.68,23514.4,171.753,3238.68,179.385,179.489,18119.0,17643.8]
["2025-10-29","08:15",766.676,2642.57,1526.53,0.0,757.399,23396.6,163.321,3202.18,180.739,180.075,17942.7,17654.3]
["2025-10-29","08:20",869.717,2986.62,1725.45,0.0,764.426,23447.1,157.638,3159.99,181.08,179.929,18078.6,17655.0]
["2025-10-29","08:25",970.933,3315.26,1916.11,0.0,756.508,23122.6,149.623,3206.27,143.15,179.123,17884.4,17636.1]
["2025-10-29","08:30",1074.81,3646.78,2104.02,0.0,757.339,22902.2,151.331,3279.16,122.494,178.83,17713.2,17653.5]
["2025-10-29","08:35",1177.89,3987.78,2294.6,0.0,729.381,22957.5,148.166,3128.5,119.06,178.189,17711.6,17634.4]
["2025-10-29","08:40",1276.93,4317.47,2480.53,0.0,723.638,22645.1,152.554,3116.88,119.68,177.475,17682.9,17641.6]
["2025-10-29","08:45",1375.8,4654.3,2670.58,0.0,720.974,22504.1,153.842,3105.92,119.716,177.933,17609.2,17644.2]
["2025-10-29","08:50",1477.15,4986.64,2856.51,0.0,724.311,22229.3,162.561,3174.36,120.017,178.665,17646.9,17633.7]
["2025-10-29","08:55",1581.63,5320.38,3043.21,-16.9268,722.527,21841.2,165.693,3203.17,119.623,179.965,17379.2,17646.6]
["2025-10-29","09:00",1683.81,5649.77,3226.2,-34.7634,740.331,21637.9,166.012,3132.63,119.638,177.145,17421.6,17640.7]
["2025-10-29","09:05",1783.76,5975.6,3408.58,-430.401,756.984,21834.3,163.93,3200.37,119.208,179.196,17315.3,17658.4]
["2025-10-29","09:10",1893.76,6333.1,3608.37,-427.369,751.352,21587.2,156.367,3205.08,119.638,179.269,17368.3,17650.8]
["2025-10-29","09:15",1999.13,6684.45,3798.01,-427.967,751.322,21116.9,159.72,3095.8,120.224,178.921,17155.0,17643.4]
["2025-10-29","09:20",2106.96,7028.74,3988.98,-426.81,749.99,20559.6,165.79,3111.68,119.686,179.269,17105.7,17662.1]
["2025-10-29","09:25",2209.34,7343.37,4162.25,-427.608,752.475,19935.5,166.25,3103.83,120.125,178.134,17038.7,17657.9]
["2025-10-29","09:30",2300.59,7623.21,4315.13,-426.571,762.483,19564.0,165.066,3133.88,119.468,177.878,17008.3,17648.2]
["2025-10-29","09:35",2386.77,7903.24,4471.84,-437.05,764.748,19298.8,157.312,3060.4,119.845,178.958,16985.8,17636.6]
["2025-10-29","09:40",2471.76,8172.64,4620.67,-685.729,749.928,19244.2,169.038,3085.13,120.26,178.775,16732.4,17646.6]
["2025-10-29","09:45",2566.38,8449.7,4768.37,-689.018,668.983,19161.0,163.74,3091.36,119.167,180.148,16479.8,17661.9]
["2025-10-29","09:50",2652.87,8714.53,4912.2,-691.006,678.347,18949.3,168.321,3122.95,119.741,179.453,16406.1,17660.9]
["2025-10-29","09:55",2726.61,8950.0,5043.15,-689.093,673.792,18518.6,155.579,3133.39,119.737,179.361,16246.9,17666.4]
["2025-10-29","10:00",2789.31,9168.72,5164.9,-689.776,663.065,18099.0,158.288,3144.65,120.239,179.398,16095.7,17649.4]
["2025-10-29","10:05",2853.28,9369.3,5268.23,-699.164,677.344,18356.1,165.105,2984.84,119.589,178.958,16065.4,17649.9]
["2025-10-29","10:10",2930.55,9610.92,5401.69,-1062.51,712.512,18150.0,162.221,2985.74,120.706,178.775,16081.2,17644.7]
["2025-10-29","10:15",2998.85,9834.49,5508.3,-1067.94,703.699,18093.4,151.734,2849.12,120.737,179.123,16008.0,17629.8]
["2025-10-29","10:20",3100.33,10169.2,5717.57,-1067.88,689.699,17921.5,150.641,2586.4,120.316,179.654,16118.1,17656.3]
["2025-10-29","10:25",3166.76,10344.2,5780.94,-1066.57,700.927,17657.9,142.893,2534.99,119.779,179.123,16066.3,17642.3]
["2025-10-29","10:30",3222.46,10515.1,5870.85,-1063.32,708.183,17316.6,148.943,2511.65,119.624,177.219,16003.0,17658.4]
["2025-10-29","10:35",3284.36,10704.0,5977.6,-1066.68,728.806,16977.9,144.535,2491.14,119.806,178.793,15986.0,17638.0]
["2025-10-29","10:40",3340.34,10867.1,6053.07,-1062.35,744.516,16795.4,150.217,2458.55,119.847,178.976,16190.8,17654.7]