{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["powerSource_20260404"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"powerSource_20260404","index":0,"n_rows":289,"n_cols":14,"rows_kept":289,"cut":false,"hidden":false,"merged":[[0,0,0,13]]}
["발전원별실시간전력수급현황"]
["날짜","시간","태양광(BTM,추정)","태양광(PPA,추정)","태양광(전력시장)","양수","수력","가스","풍력","신재생","유류","국내탄","유연탄","원자력"]
["2026-04-04","00:00",0.0,0.0,0.0,289.431,107.275,19532.4,989.932,3300.57,72.4731,0.150148,16171.9,18526.0]
["2026-04-04","00:05",0.0,0.0,0.0,295.352,122.764,19590.6,984.196,3293.8,72.1125,0.150148,16027.1,18568.5]
["2026-04-04","00:10",0.0,0.0,0.0,298.068,105.436,19303.0,986.557,3294.72,71.3065,0.150148,15933.0,18558.6]
["2026-04-04","00:15",0.0,0.0,0.0,297.702,100.255,18900.8,959.827,3290.93,71.9172,0.150148,16006.0,18561.7]
["2026-04-04","00:20",0.0,0.0,0.0,295.016,117.313,18433.6,950.806,3290.3,71.6136,0.150148,15983.1,18562.2]
["2026-04-04","00:25",0.0,0.0,0.0,295.932,122.665,18020.9,894.367,3285.98,72.0822,0.150148,16039.5,18541.0]
["2026-04-04","00:30",0.0,0.0,0.0,299.838,130.311,17938.9,885.37,3283.27,71.6489,0.150148,16075.7,18564.4]
["2026-04-04","00:35",0.0,0.0,0.0,294.559,127.567,17804.6,903.877,3281.3,71.6012,0.150148,16021.3,18561.9]
["2026-04-04","00:40",0.0,0.0,0.0,294.192,119.41,17513.7,914.243,3284.75,72.1301,0.150148,15994.6,18565.8]
["2026-04-04","00:45",0.0,0.0,0.0,298.129,119.878,17370.2,902.402,3276.8,72.4862,0.150148,16016.4,18566.9]
["2026-04-04","00:50",0.0,0.0,0.0,294.04,113.583,16897.4,929.151,3269.02,74.6738,0.150148,15962.0,18573.6]
["2026-04-04","00:55",0.0,0.0,0.0,296.39,115.985,16756.6,966.581,3271.0,73.8443,0.150148,16113.4,18540.3]
["2026-04-04","01:00",0.0,0.0,0.0,230.317,122.164,16793.2,976.349,3270.91,74.1062,0.150148,16133.1,18542.1]
["2026-04-04","01:05",0.0,0.0,0.0,0.0,121.199,17003.7,970.34,3280.79,72.5658,0.150148,16170.8,18527.6]
["2026-04-04","01:10",0.0,0.0,0.0,0.0,117.343,16812.9,940.301,3263.76,72.5089,0.150148,16091.7,18542.2]
["2026-04-04","01:15",0.0,0.0,0.0,0.0,123.231,16672.7,924.436,3250.37,71.823,0.150148,16048.6,18542.2]
["2026-04-04","01:20",0.0,0.0,0.0,0.0,121.484,16407.9,941.072,3258.99,73.0018,0.150148,16148.0,18533.6]
["2026-04-04","01:25",0.0,0.0,0.0,0.0,121.059,16158.7,927.579,3279.34,73.2368,0.150148,16175.9,18561.0]
["2026-04-04","01:30",0.0,0.0,0.0,0.0,123.431,16111.8,932.185,3264.2,72.8976,0.150148,16094.4,18556.1]
["2026-04-04","01:35",0.0,0.0,0.0,0.0,124.369,15926.6,949.541,3272.37,72.0437,0.150148,16121.9,18529.9]
["2026-04-04","01:40",0.0,0.0,0.0,0.0,116.342,15911.1,941.034,3273.28,53.2233,0.150148,16175.2,18538.9]
["2026-04-04","01:45",0.0,0.0,0.0,0.0,126.855,15865.7,905.338,3277.73,52.8317,0.150148,16134.3,18531.3]
["2026-04-04","01:50",0.0,0.0,0.0,0.0,112.975,15592.1,898.988,3285.38,52.4783,0.150148,16076.8,18512.2]
["2026-04-04","01:55",0.0,0.0,0.0,0.0,111.415,15310.5,904.34,3303.3,52.7423,0.150148,16184.0,18550.4]
["2026-04-04","02:00",0.0,0.0,0.0,0.0,130.013,15309.7,911.543,3275.08,52.4613,0.150148,16183.4,18566.0]
["2026-04-04","02:05",0.0,0.0,0.0,0.0,130.577,15330.3,859.675,3272.33,52.7999,0.150148,16273.3,18565.2]
["2026-04-04","02:10",0.0,0.0,0.0,0.0,135.664,15254.9,857.904,3274.04,52.9401,0.150148,16320.5,18538.8]
["2026-04-04","02:15",0.0,0.0,0.0,0.0,133.589,15270.1,835.512,3286.34,52.4064,0.150148,16264.4,18566.1]
["2026-04-04","02:20",0.0,0.0,0.0,0.0,116.043,14943.5,822.531,3287.33,52.8256,0.150148,16364.7,18556.5]
["2026-04-04","02:25",0.0,0.0,0.0,0.0,129.225,14895.1,813.4,3277.76,52.8804,0.150148,16308.7,18546.2]
["2026-04-04","02:30",0.0,0.0,0.0,0.0,134.204,14678.1,802.475,3285.61,53.0934,0.150148,16298.4,18543.9]
["2026-04-04","02:35",0.0,0.0,0.0,0.0,134.706,14448.5,773.675,3347.6,52.4245,0.150148,16340.1,18524.4]
["2026-04-04","02:40",0.0,0.0,0.0,0.0,140.613,14494.5,750.302,3349.63,52.4102,0.150148,16386.0,18562.7]
["2026-04-04","02:45",0.0,0.0,0.0,0.0,113.455,14447.4,729.41,3371.3,52.9864,0.150148,16484.5,18565.5]
["2026-04-04","02:50",0.0,0.0,0.0,-335.801,135.378,14639.8,718.402,3410.92,52.7186,0.150148,16536.0,18519.9]
["2026-04-04","02:55",0.0,0.0,0.0,-334.245,135.444,14538.2,669.396,3391.83,52.9033,0.150148,16407.8,18534.0]
["2026-04-04","03:00",0.0,0.0,0.0,-333.665,109.209,14195.9,645.87,3402.47,52.7858,0.150148,16434.5,18523.3]
["2026-04-04","03:05",0.0,0.0,0.0,-334.489,136.028,14269.7,648.146,3399.81,52.4634,0.150148,16419.7,18577.8]
["2026-04-04","03:10",0.0,0.0,0.0,-334.428,135.257,14224.8,661.414,3405.54,52.0083,0.150148,16455.5,18580.0]
["2026-04-04","03:15",0.0,0.0,0.0,-334.642,108.076,14180.0,735.628,3419.69,52.4989,0.150148,16500.0,18579.6]
["2026-04-04","03:20",0.0,0.0,0.0,-335.008,122.639,14360.3,744.005,3425.29,51.9318,0.150148,16413.7,18547.3]
["2026-04-04","03:25",0.0,0.0,0.0,-333.909,128.19,14240.3,758.68,3421.01,52.2681,0.150148,16459.5,18552.1]
["2026-04-04","03:30",0.0,0.0,0.0,-334.123,132.8,13957.5,762.366,3423.97,51.8891,0.150148,16365.9,18540.2]
["2026-04-04","03:35",0.0,0.0,0.0,-334.031,139.65,13850.9,776.014,3439.72,50.6911,0.150148,16460.4,18536.7]
["2026-04-04","03:40",0.0,0.0,0.0,-333.146,135.649,13944.0,776.074,3440.22,51.4208,0.150148,16498.3,18523.6]
["2026-04-04","03:45",0.0,0.0,0.0,-333.146,125.584,13796.1,769.366,3450.27,51.754,0.150148,16408.4,18537.8]
["2026-04-04","03:50",0.0,0.0,0.0,-333.329,132.277,13795.4,795.63,3458.48,51.8618,0.150148,16408.7,18551.8]
["2026-04-04","03:55",0.0,0.0,0.0,-333.39,117.265,13832.1,790.986,3467.74,52.0627,0.150148,16421.2,18567.8]
["2026-04-04","04:00",2.6185,9.74168,6.21736,-333.787,123.624,13822.2,787.411,3462.41,52.1565,0.150148,16447.4,18787.3]
["2026-04-04","04:05",2.65995,10.2942,6.45547,-333.207,108.954,13634.8,806.205,3470.53,52.2216,0.150148,16433.7,18799.7]
["2026-04-04","04:10",2.73439,10.6107,6.79317,-332.353,111.135,13589.6,807.589,3477.28,52.0196,0.150148,16431.9,18798.5]
["2026-04-04","04:15",2.53312,9.98726,6.40973,-331.712,117.552,13667.9,816.143,3482.26,51.8942,0.150148,16471.6,18833.9]
["2026-04-04","04:20",2.33768,9.22468,5.84354,-331.895,138.607,13794.1,827.237,3488.76,51.6671,0.150148,16452.4,18814.3]
["2026-04-04","04:25",2.68422,10.3071,6.27924,-333.573,134.98,13752.9,862.18,3491.97,52.1432,0.150148,16457.0,18882.2]
["2026-04-04","04:30",2.58441,9.89123,6.06103,-332.688,134.896,13763.1,871.489,3496.28,52.5267,0.150148,16521.5,18859.6]
["2026-04-04","04:35",2.61677,10.3291,6.71323,-332.871,126.236,13700.9,913.95,3497.44,52.2399,0.150148,16445.5,18807.7]
["2026-04-04","04:40",2.56848,10.0956,6.70365,-332.353,123.576,13704.5,909.639,3499.03,52.1716,0.150148,16485.6,18775.7]
["2026-04-04","04:45",2.80947,10.6476,6.82739,-331.773,140.72,13873.9,942.865,3527.2,52.1386,0.150148,16606.3,18785.1]
["2026-04-04","04:50",2.7608,10.4366,6.65794,-332.536,107.453,13586.5,942.894,3536.79,52.5185,0.150148,16482.2,18771.9]
["2026-04-04","04:55",2.25227,8.977,5.36284,-331.834,139.1,13856.9,940.556,3563.4,51.6316,0.150148,16632.7,18743.9]
["2026-04-04","05:00",2.26526,9.04128,5.50347,-332.475,134.192,13788.9,924.216,3559.51,52.3555,0.150148,16600.3,18786.4]
["2026-04-04","05:05",2.61015,9.8001,5.9741,-331.376,121.165,13851.1,927.978,3576.18,51.8128,0.150148,16661.2,18779.5]
["2026-04-04","05:10",2.71838,10.0477,6.05643,-332.475,133.747,13794.9,925.968,3582.9,52.5792,0.150148,16592.8,18550.7]
["2026-04-04","05:15",2.54697,9.95927,6.55382,-332.109,138.429,13905.3,952.062,3588.04,52.3936,0.150148,16685.3,18610.4]
["2026-04-04","05:20",2.49849,9.8136,6.43085,-332.353,124.218,13908.3,952.216,3584.77,51.7678,0.150148,16630.0,18576.4]
["2026-04-04","05:25",2.58086,9.66766,5.97337,-331.193,136.558,14185.8,962.354,3585.67,51.4168,0.150148,16684.9,18562.6]
["2026-04-04","05:30",2.76989,10.3366,6.49067,-332.109,132.183,14125.4,968.36,3585.87,52.3282,0.150148,16649.1,18592.2]
["2026-04-04","05:35",2.76192,10.6503,6.95712,-331.59,129.612,14307.2,954.916,3575.0,51.937,0.150148,16719.8,18573.8]
["2026-04-04","05:40",2.74181,10.4517,6.84029,-332.292,131.607,14429.6,947.062,3568.48,52.1973,0.150148,16680.6,18599.0]
["2026-04-04","05:45",2.70483,10.1959,6.44121,0.0,122.322,14123.1,953.693,3575.61,51.6243,0.150148,16604.1,18600.7]
["2026-04-04","05:50",2.81897,10.5021,6.64668,0.0,123.706,14217.2,956.773,3573.75,52.0728,0.150148,16639.1,18605.8]
["2026-04-04","05:55",2.71079,9.96738,6.32047,0.0,126.006,14237.7,944.924,3579.4,51.9261,0.150148,16646.9,18583.0]
["2026-04-04","06:00",2.61275,9.65934,6.28945,0.0,182.758,14275.5,945.796,3578.6,52.0028,0.150148,16566.2,18600.1]
["2026-04-04","06:05",2.85801,10.8734,7.0912,0.0,95.7558,14609.8,972.709,3586.55,51.3781,0.150148,16672.0,18567.6]
["2026-04-04","06:10",3.08036,11.2659,7.28836,0.0,97.7082,14630.9,960.055,3617.51,51.7641,0.150148,16755.5,18563.6]
["2026-04-04","06:15",2.83685,10.136,6.76811,0.0,92.6431,14734.1,970.881,3578.11,51.6325,0.150148,16632.9,18599.2]
["2026-04-04","06:20",2.8895,10.4101,6.94823,0.0,95.9002,14648.9,962.331,3583.48,51.6772,0.150148,16541.8,18598.0]
["2026-04-04","06:25",2.6888,12.123,8.00317,0.0,96.6219,14918.4,925.811,3568.2,51.2495,0.150148,16572.1,18708.9]
["2026-04-04","06:30",3.36086,12.14,7.93276,0.0,97.8752,15018.3,908.39,3567.07,52.0751,0.150148,16531.2,18658.3]
["2026-04-04","06:35",3.0064,11.2313,7.43578,0.0,89.9552,15020.9,864.517,3569.59,52.0171,0.150148,16492.2,18678.4]
["2026-04-04","06:40",2.99033,10.27,6.62264,0.0,96.8846,15292.0,852.004,3566.55,51.5131,0.150148,16467.2,18695.3]
["2026-04-04","06:45",3.99816,12.8712,8.53352,0.0,97.195,15399.5,823.937,3568.43,52.3438,0.150148,16518.6,18677.0]
["2026-04-04","06:50",4.71689,14.9177,10.4056,0.0,98.1432,15448.4,825.779,3566.69,51.9034,0.150148,16490.1,18686.6]
["2026-04-04","06:55",8.94426,23.5857,16.5583,0.0,97.4816,15687.1,829.329,3553.13,51.5906,0.150148,16440.8,18696.9]
["2026-04-04","07:00",11.646,31.7724,24.0302,0.0,102.775,16190.4,827.604,3549.95,58.8364,0.150148,16500.3,18696.2]
["2026-04-04","07:05",18.4952,48.1513,34.2078,0.0,140.001,16537.0,830.442,3539.0,72.56,0.150148,16428.3,18669.6]
["2026-04-04","07:10",20.1264,52.5337,37.6551,0.0,137.608,16744.0,777.07,3549.04,72.6359,0.150148,16517.6,18675.8]
["2026-04-04","07:15",33.1447,79.3558,53.3741,0.0,138.659,17005.1,763.411,3519.25,72.1496,0.150148,16296.8,18668.6]
["2026-04-04","07:20",36.7369,88.2548,60.0231,0.0,141.705,16975.7,745.811,3521.21,72.5959,0.150148,16481.3,18684.5]
["2026-04-04","07:25",53.9547,127.8,81.6373,0.0,140.867,17009.3,769.308,3523.76,72.7286,0.150148,16462.0,18698.9]
["2026-04-04","07:30",59.5426,143.972,95.8515,0.0,137.613,17110.0,739.018,3500.61,71.955,0.150148,16328.1,18714.4]
["2026-04-04","07:35",89.4419,224.022,139.472,0.0,138.811,17124.2,750.292,3507.19,72.3327,0.150148,16342.9,18666.2]
["2026-04-04","07:40",99.6955,275.911,159.919,0.0,136.094,17167.9,740.41,3496.14,72.0599,0.150148,16390.7,18683.7]
["2026-04-04","07:45",133.008,368.149,207.909,0.0,139.12,17243.5,754.47,3494.18,72.4711,0.150148,16209.0,18696.4]
["2026-04-04","07:50",139.631,403.15,221.823,0.0,136.015,17186.0,745.632,3486.83,72.1038,0.150148,16204.3,18696.4]
["2026-04-04","07:55",172.952,473.975,265.769,0.0,132.901,16933.7,755.548,3466.33,72.6045,0.150148,16098.0,18712.6]
["2026-04-04","08:00",176.925,476.655,275.37,0.0,223.4,16823.8,761.621,3522.04,72.4353,0.150148,16232.5,18722.8]
["2026-04-04","08:05",221.776,623.683,366.345,0.0,386.742,16745.3,808.071,3488.99,73.0252,0.150148,16222.3,18660.7]
["2026-04-04","08:10",229.242,641.008,387.866,0.0,395.554,16869.6,836.076,3448.9,72.8089,0.150148,16198.9,18674.1]
["2026-04-04","08:15",283.231,785.804,511.918,0.0,385.972,17022.9,851.957,3446.45,72.2459,0.150148,16169.2,18688.5]
["2026-04-04","08:20",311.862,874.783,587.885,0.0,337.56,16928.6,869.852,3458.46,72.7876,0.150148,16150.2,18664.2]
["2026-04-04","08:25",357.479,1001.29,697.334,0.0,392.87,16961.4,891.129,3505.64,72.6628,0.150148,16063.3,18706.7]
["2026-04-04","08:30",382.234,1089.21,765.124,0.0,390.708,16900.0,890.479,3546.51,72.9385,0.150148,16092.8,18658.1]
["2026-04-04","08:35",461.734,1371.14,967.071,0.0,390.78,17007.6,874.825,3512.15,72.3229,0.150148,16099.4,18711.0]
["2026-04-04","08:40",462.657,1369.82,960.982,0.0,389.37,16969.3,891.681,3497.05,73.1738,0.150148,15989.3,18691.0]
["2026-04-04","08:45",542.676,1663.89,1129.03,0.0,370.7,16832.2,895.714,3402.79,72.8856,0.150148,16146.5,18662.2]
["2026-04-04","08:50",550.713,1709.76,1135.16,0.0,397.385,16914.7,885.876,3420.54,73.0291,0.150148,16122.8,18645.2]
["2026-04-04","08:55",602.333,1880.83,1227.63,0.0,382.528,16851.6,880.157,3377.43,72.8879,0.150148,16045.1,18693.2]
["2026-04-04","09:00",612.374,1908.09,1257.54,-9.98378,315.59,16827.2,916.183,3351.68,72.6058,0.150148,16040.8,18690.2]
["2026-04-04","09:05",694.778,2180.79,1439.86,-431.558,319.052,16837.0,891.342,3322.32,73.8805,0.150148,16081.5,18686.0]
["2026-04-04","09:10",675.614,2098.06,1402.73,-434.232,318.73,16790.6,873.21,3315.69,73.1214,0.150148,16046.5,18693.9]
["2026-04-04","09:15",735.65,2248.21,1574.49,-430.082,275.867,16440.3,833.517,3341.37,73.3512,0.150148,15997.4,18691.1]
["2026-04-04","09:20",808.613,2479.67,1663.78,-430.162,310.244,16365.1,832.977,3400.29,73.6671,0.150148,15851.3,18657.3]
["2026-04-04","09:25",899.257,2749.73,1848.36,-428.526,319.706,16222.6,827.437,3325.66,74.0228,0.150148,15781.3,18709.1]
["2026-04-04","09:30",992.655,2998.0,2011.49,-431.518,293.345,15568.0,865.121,3340.54,74.0276,0.150148,15708.4,18672.2]
["2026-04-04","09:35",1121.31,3391.18,2219.57,-428.805,291.809,15337.6,816.982,3411.5,74.2353,0.150148,15363.8,18660.2]
["2026-04-04","09:40",1161.55,3512.12,2313.49,-431.08,320.25,15252.0,829.923,3345.31,72.9806,0.150148,15052.5,18674.2]
["2026-04-04","09:45",1288.03,3871.04,2519.63,-430.122,320.559,14983.4,800.696,3362.3,73.1702,0.150148,14961.8,18691.0]
["2026-04-04","09:50",1277.45,3868.57,2511.29,-427.887,320.509,14933.5,780.214,3438.49,72.9049,0.150148,14810.6,18656.3]
["2026-04-04","09:55",1448.6,4344.85,2806.57,-425.613,321.951,14281.5,777.903,3347.42,73.2768,0.150148,14733.6,18700.1]
["2026-04-04","10:00",1479.7,4418.12,2862.85,-426.571,319.286,13780.9,772.673,3294.17,72.8231,0.150148,14725.6,18692.5]
["2026-04-04","10:05",1580.57,4718.14,2953.39,-495.485,325.097,14088.3,684.11,3227.56,73.1241,0.150148,14779.0,18674.3]
["2026-04-04","10:10",1634.63,4882.18,3075.91,-758.322,309.337,14139.2,688.504,3268.61,72.7838,0.150148,14598.8,18695.9]
["2026-04-04","10:15",1839.2,5441.84,3383.39,-758.982,321.262,13803.3,666.826,3071.11,73.3808,0.150148,14627.2,18647.6]
["2026-04-04","10:20",1850.11,5494.25,3380.77,-758.719,315.853,13669.8,688.32,3052.28,73.0365,0.150148,14665.8,18677.7]
["2026-04-04","10:25",1975.04,5798.88,3550.95,-758.427,311.561,13366.7,711.172,3025.77,73.81,0.150148,14631.7,18659.3]
["2026-04-04","10:30",1984.56,5840.82,3565.13,-763.214,320.128,13202.9,710.517,3024.3,73.5544,0.150148,14594.9,18665.1]
["2026-04-04","10:35",2068.82,6068.28,3667.11,-760.017,317.278,12631.2,732.272,2921.64,73.851,0.150148,14637.6,18677.4]
["2026-04-04","10:40",2065.47,5995.77,3655.12,-766.425,324.363,12353.2,727.851,3017.98,67.0739,0.150148,14775.4,18677.8]
["2026-04-04","10:45",2198.81,6554.99,3830.99,-1019.87,321.853,12266.6,717.621,2975.94,53.7669,0.150148,14775.9,18760.9]
["2026-04-04","10:50",2288.46,7063.74,4014.04,-1017.54,320.394,11947.1,747.812,3009.84,52.8189,0.150148,14750.5,18740.1]
["2026-04-04","10:55",2325.1,6875.18,3981.02,-1019.67,320.526,11669.5,737.342,3037.67,52.7642,0.150148,14789.6,18743.6]
["2026-04-04","11:00",2298.67,6719.69,3911.68,-1018.27,310.172,11230.7,752.018,3005.56,52.2935,0.150148,14692.9,18757.8]
["2026-04-04","11:05",2416.64,7185.32,4057.69,-1017.88,302.487,10921.5,761.249,3008.08,52.5681,0.150148,14571.7,18745.9]
["2026-04-04","11:10",2470.07,7505.24,4155.16,-1019.52,287.177,10475.8,768.563,2978.05,51.9158,0.150148,14527.0,18776.9]
["2026-04-04","11:15",2596.72,7772.16,4339.2,-1018.61,310.634,10189.4,748.946,2881.44,52.2992,0.150148,14504.1,18754.4]
["2026-04-04","11:20",2615.36,7868.63,4376.09,-1266.3,316.83,10016.1,749.892,2980.81,52.6954,0.150148,14670.3,18762.0]
["2026-04-04","11:25",2760.85,8265.55,4625.01,-1349.13,313.134,9845.68,716.382,2859.45,52.8201,0.150148,14608.3,18780.7]
["2026-04-04","11:30",2751.39,8243.88,4592.41,-1407.93,271.769,9290.61,711.678,2850.06,52.2841,0.150148,14528.9,18770.9]
["2026-04-04","11:35",2889.62,8699.88,4789.35,-1608.53,273.154,9230.54,717.219,2790.32,52.8498,0.150148,14449.7,18756.8]
["2026-04-04","11:40",2902.32,8754.49,4822.6,-1620.35,274.394,9162.62,712.393,2733.1,52.5841,0.150148,14268.1,18748.5]
["2026-04-04","11:45",3007.16,9085.18,4959.67,-2016.66,311.206,9265.19,741.993,2774.32,52.4537,0.150148,14071.1,18758.8]
["2026-04-04","11:50",3021.49,9146.28,4998.4,-2192.06,291.829,9157.98,760.241,2736.12,52.6265,0.150148,14155.3,18760.0]
["2026-04-04","11:55",3158.48,9574.58,5258.61,-2223.37,310.13,8839.5,789.122,2776.53,52.2854,0.150148,14155.4,18742.4]
["2026-04-04","12:00",3195.03,9680.14,5348.74,-2444.63,95.2071,8481.14,783.929,2739.07,52.3154,0.150148,14141.3,18734.6]
["2026-04-04","12:05",3263.16,9961.11,5529.06,-2450.62,39.2195,8516.35,743.128,2755.07,53.1016,0.150148,14332.8,18779.9]
["2026-04-04","12:10",3281.53,10018.9,5558.84,-2484.12,39.0866,8299.94,746.433,2734.29,52.8313,0.150148,14254.2,18777.2]
["2026-04-04","12:15",3307.73,10176.6,5610.56,-2855.11,39.2801,8452.68,719.9,2750.49,53.0549,0.150148,14416.5,18734.7]
["2026-04-04","12:20",3303.12,10177.7,5603.88,-2853.8,39.2081,8316.23,746.562,2690.5,53.4555,0.150148,14477.7,18774.2]
["2026-04-04","12:25",3326.14,10339.2,5661.73,-2858.88,39.232,8365.19,716.009,2618.85,66.9387,0.150148,14568.3,18779.1]
["2026-04-04","12:30",3312.68,10280.7,5596.51,-2856.18,39.1454,8303.28,719.492,2716.32,72.778,0.150148,14602.4,18771.7]
["2026-04-04","12:35",3269.49,10206.0,5507.28,-2858.22,39.1453,8127.3,711.107,2790.51,73.5445,0.150148,14635.7,18748.9]
["2026-04-04","12:40",3282.78,10244.1,5534.68,-2860.47,39.0533,7991.27,730.712,2719.03,72.7319,0.150148,14623.3,18765.4]
["2026-04-04","12:45",3259.15,10194.5,5543.54,-2859.43,38.9889,7851.99,733.348,2734.55,73.0998,0.150148,14622.4,18740.2]
["2026-04-04","12:50",3250.08,10118.5,5550.65,-2853.2,39.4346,8361.31,725.129,2716.32,72.9595,0.150148,14717.6,18765.6]
["2026-04-04","12:55",3340.28,10391.9,5758.67,-2853.71,39.3195,8431.62,723.36,2634.14,73.2973,0.150148,14674.5,18794.9]
["2026-04-04","13:00",3324.36,10333.2,5734.3,-2858.08,39.0533,8532.17,705.753,2679.8,72.8528,0.150148,14680.9,18796.8]
["2026-04-04","13:05",3252.43,10019.5,5602.13,-2588.03,39.2448,8748.21,709.983,2756.21,73.755,0.150148,14863.5,18744.0]
["2026-04-04","13:10",3272.64,9873.31,5622.43,-2599.71,38.9777,8943.98,719.157,2687.74,73.0274,0.150148,14698.1,18791.4]
["2026-04-04","13:15",3235.76,9725.78,5514.0,-2181.13,38.8276,8716.8,725.142,2639.41,73.5672,0.150148,14716.8,18783.6]
["2026-04-04","13:20",3249.41,9861.36,5574.0,-2182.18,39.0437,8880.03,718.249,2720.18,72.841,0.150148,14687.4,18742.7]
["2026-04-04","13:25",3243.68,9980.54,5596.88,-2175.79,38.9429,9105.82,693.387,2694.0,73.1815,0.150148,14740.6,18752.4]
["2026-04-04","13:30",3240.2,9837.13,5574.91,-1919.27,39.0482,9268.7,675.393,2676.83,73.7579,0.150148,14741.8,18765.9]
["2026-04-04","13:35",3147.75,9560.39,5464.51,-1593.98,39.1713,9276.04,643.45,2652.54,73.497,0.150148,14842.0,18773.1]
["2026-04-04","13:40",3131.96,9446.59,5422.3,-1268.5,38.7848,9428.69,651.768,2699.3,71.881,0.150148,14648.6,18743.1]
["2026-04-04","13:45",3064.11,9226.77,5325.0,-1260.98,39.1058,9317.85,632.39,2750.92,72.7031,0.150148,14760.3,18757.8]
["2026-04-04","13:50",3047.21,9211.7,5275.35,-1264.63,38.9128,9345.6,642.448,2744.42,72.6625,0.150148,14735.3,18741.9]
["2026-04-04","13:55",3001.36,9013.78,5167.31,-1258.98,39.0398,9150.66,611.51,2756.68,72.7533,0.150148,14857.3,18801.0]
["2026-04-04","14:00",3012.51,9086.65,5202.89,-1263.7,38.9343,9267.26,619.569,2801.33,71.4003,0.150148,14845.6,18784.3]
["2026-04-04","14:05",2955.58,8863.15,5098.36,-1261.46,39.0902,9339.75,623.377,2761.04,72.3182,0.150148,14849.9,18745.5]
["2026-04-04","14:10",2925.47,8770.61,5049.2,-1260.67,38.9538,9283.45,636.061,2882.89,72.8664,0.150148,14833.3,18786.2]
["2026-04-04","14:15",2918.28,8753.39,5087.16,-1262.29,38.9501,9458.74,643.479,2759.33,71.8522,0.150148,14893.8,18776.9]
["2026-04-04","14:20",2888.75,8626.67,4992.58,-1058.19,38.9417,9283.64,636.807,2809.59,72.5679,0.150148,14914.8,18767.8]
["2026-04-04","14:25",2863.32,8494.88,4978.0,-1059.3,38.866,9291.4,613.052,2793.53,71.7824,0.150148,14777.4,18735.2]
["2026-04-04","14:30",2850.91,8452.62,4920.17,-998.005,38.8523,9394.47,599.731,2832.61,72.0956,0.150148,14705.9,18757.9]
["2026-04-04","14:35",2833.73,8541.4,4901.88,-683.914,38.811,9045.19,603.364,2815.68,71.5581,0.150148,14730.3,18780.4]
["2026-04-04","14:40",2821.45,8582.53,4874.6,-681.354,38.7249,8730.05,603.57,2872.1,71.7404,0.150148,14730.5,18754.6]
["2026-04-04","14:45",2773.98,8413.8,4768.41,-684.924,39.0142,9001.77,601.573,2875.48,71.7881,0.150148,14801.8,18807.3]
["2026-04-04","14:50",2752.15,8333.41,4704.96,-683.3,38.7415,9009.99,597.431,2890.07,71.5413,0.150148,14793.7,18782.9]
["2026-04-04","14:55",2744.87,8272.48,4597.86,-682.915,38.8632,8988.57,608.288,2922.9,71.2716,0.150148,14791.6,18810.6]
["2026-04-04","15:00",2721.78,8096.27,4531.05,-683.01,118.241,9155.77,586.26,2948.34,70.9218,0.150148,14635.3,18776.8]
["2026-04-04","15:05",2671.86,7819.23,4377.04,-685.484,314.708,9249.18,617.339,2974.1,71.6283,0.150148,14440.4,18742.4]
["2026-04-04","15:10",2602.29,7560.24,4198.38,-683.513,281.539,9468.37,629.716,3075.27,71.2145,0.150148,14272.8,18780.6]
["2026-04-04","15:15",2457.44,7011.74,3862.74,-683.21,331.525,9775.62,652.561,3273.89,71.1167,0.150148,14172.9,18769.4]
["2026-04-04","15:20",2405.72,6829.07,3756.05,-679.15,341.128,10028.0,660.624,3295.22,70.9578,0.150148,14342.2,18789.8]
["2026-04-04","15:25",2309.4,6458.65,3552.19,-680.672,338.502,10388.7,675.362,3292.47,71.8615,0.150148,14541.1,18766.2]
["2026-04-04","15:30",2294.61,6431.53,3520.16,-684.606,300.564,10373.3,676.293,3289.39,71.2186,0.150148,14371.4,18756.3]
["2026-04-04","15:35",2207.38,6174.64,3370.08,-680.007,331.943,10704.7,691.447,3342.8,71.2926,0.150148,14360.8,18756.1]
["2026-04-04","15:40",2190.84,6113.16,3318.9,-681.98,330.497,11234.3,671.273,3345.04,71.6456,0.150148,14331.7,18786.0]
["2026-04-04","15:45",2118.76,5839.18,3156.79,-679.463,344.305,11499.1,675.12,3363.62,71.111,0.150148,14444.9,18765.3]
["2026-04-04","15:50",2122.84,5849.15,3158.34,-679.427,342.179,11650.5,666.931,3395.07,71.1554,0.150148,14515.5,18800.9]
["2026-04-04","15:55",2041.12,5588.6,3005.78,-682.485,342.343,12103.4,676.423,3402.28,71.5434,0.150148,14477.0,18758.4]
["2026-04-04","16:00",2032.15,5568.44,2988.37,-682.445,367.215,12193.7,679.83,3426.54,71.2678,0.150148,14277.8,18760.4]
["2026-04-04","16:05",1939.12,5281.26,2853.96,-680.932,351.898,12262.7,720.251,3457.94,71.383,0.150148,14097.9,18751.3]
["2026-04-04","16:10",1906.04,5178.14,2793.95,-677.697,421.041,12379.9,706.156,3457.76,71.2534,0.150148,14071.6,18739.0]
["2026-04-04","16:15",1804.35,4894.72,2591.9,-679.58,422.909,12551.0,762.181,3659.55,71.3258,0.150148,14036.6,18769.8]
["2026-04-04","16:20",1792.62,4856.47,2566.35,-677.25,427.871,13003.4,744.411,3660.33,71.6422,0.150148,14046.4,18732.0]
["2026-04-04","16:25",1723.19,4656.84,2464.82,-417.552,423.705,12895.2,739.127,3696.25,71.5283,0.150148,14224.9,18748.1]
["2026-04-04","16:30",1700.99,4578.29,2433.38,0.0,388.682,12912.8,714.105,3675.7,71.4948,0.150148,14010.3,18751.2]
["2026-04-04","16:35",1621.79,4369.54,2330.53,0.0,424.49,13099.3,689.844,3709.94,71.324,0.150148,14025.8,18759.6]
["2026-04-04","16:40",1591.83,4275.47,2269.25,0.0,425.808,13469.1,687.385,3642.24,71.3326,0.150148,14051.6,18811.2]
["2026-04-04","16:45",1485.97,4051.77,2140.87,0.0,421.514,13594.0,703.691,3653.98,71.3347,0.150148,14131.0,18829.6]
["2026-04-04","16:50",1457.81,3977.97,2087.83,280.612,373.504,13569.5,689.739,3684.93,71.2397,0.150148,13964.6,18853.6]
["2026-04-04","16:55",1362.53,3753.4,1952.41,296.329,426.942,13860.9,744.44,3681.19,71.0465,0.150148,14051.0,18815.1]
["2026-04-04","17:00",1352.53,3740.09,1933.99,300.754,480.211,14065.8,756.015,3647.39,70.9092,0.150148,14034.0,18847.9]
["2026-04-04","17:05",1259.89,3456.64,1788.59,262.972,395.366,14287.5,848.979,3688.82,70.9701,0.150148,13451.9,18886.1]
["2026-04-04","17:10",1243.0,3359.38,1762.0,297.763,537.939,14815.3,846.424,3700.28,71.1295,0.150148,13255.6,18836.8]
["2026-04-04","17:15",1096.51,2964.56,1531.08,295.016,518.82,15056.6,826.812,4116.35,71.4461,0.150148,13375.9,18827.5]
["2026-04-04","17:20",1062.94,2846.56,1465.7,286.197,488.842,15302.9,835.365,4126.1,71.4484,0.150148,13250.1,18845.2]
["2026-04-04","17:25",959.421,2566.66,1352.26,299.625,533.107,15598.7,834.198,4181.98,70.5704,0.150148,13378.3,18847.1]
["2026-04-04","17:30",941.135,2512.48,1321.58,304.752,549.01,15764.3,839.578,4237.31,71.0298,0.150148,13580.6,18823.1]
["2026-04-04","17:35",835.778,2221.41,1179.03,303.714,536.304,15961.9,858.641,4234.84,71.2043,0.150148,13807.0,18836.7]
["2026-04-04","17:40",813.505,2158.69,1143.26,306.644,521.906,16202.8,852.637,4224.79,71.3195,0.150148,13823.6,18875.5]
["2026-04-04","17:45",700.809,1845.8,980.681,302.31,536.048,16539.1,833.963,4268.41,71.891,0.150148,14057.6,18832.0]
["2026-04-04","17:50",682.608,1799.8,954.173,303.073,533.898,16739.6,819.827,4234.73,74.124,0.150148,14256.7,18878.8]
["2026-04-04","17:55",622.043,1642.95,863.025,305.606,540.33,16779.0,772.818,4245.29,72.4563,0.150148,14449.6,18824.3]
["2026-04-04","18:00",554.485,1462.18,766.675,305.087,542.108,17001.5,745.691,4271.27,72.5231,0.150148,14701.5,18867.7]
["2026-04-04","18:05",448.284,1178.52,617.893,301.059,539.188,17068.6,711.388,4297.49,72.6278,0.150148,14814.5,18863.1]
["2026-04-04","18:10",408.916,1068.57,541.802,303.867,539.077,17302.2,713.913,4337.66,72.7649,0.150148,14877.4,18857.5]
["2026-04-04","18:15",311.06,817.962,410.063,294.772,558.191,17607.7,683.02,4403.4,72.3649,0.150148,14951.0,18833.6]
["2026-04-04","18:20",285.339,751.347,369.11,928.549,496.066,17464.9,669.087,4416.01,72.0296,0.150148,14938.4,18846.9]
["2026-04-04","18:25",203.963,529.61,250.912,1137.06,537.841,17263.7,637.963,4443.8,72.4912,0.150148,15132.1,18881.8]
["2026-04-04","18:30",192.387,491.424,231.042,1259.46,546.461,17288.5,614.072,4436.42,71.8534,0.150148,15306.0,18866.6]
["2026-04-04","18:35",125.636,312.332,138.837,1481.65,534.622,17283.3,600.322,4434.41,72.2721,0.150148,15349.4,18819.0]
["2026-04-04","18:40",117.33,289.587,126.843,1741.52,451.985,17117.0,603.811,4487.76,72.072,0.150148,15360.5,18855.4]
["2026-04-04","18:45",65.4429,151.416,56.2135,1998.0,512.911,17231.9,606.859,4476.05,72.096,0.150148,15176.7,18857.9]
["2026-04-04","18:50",57.5836,132.558,45.9015,2068.31,551.959,17382.1,592.726,4438.61,72.3596,0.150148,15223.6,18855.0]
["2026-04-04","18:55",23.6966,45.3089,2.22488,2291.86,524.813,17390.0,544.124,4393.81,72.9027,0.150148,15367.8,18839.8]
["2026-04-04","19:00",20.7051,39.8903,-0.378253,2608.83,514.664,17361.6,541.452,4420.81,72.2009,0.150148,15304.4,18877.7]
["2026-04-04","19:05",2.74728,0.0,0.0,2761.45,565.167,17527.9,549.046,4403.91,72.5725,0.150148,15392.7,18804.2]
["2026-04-04","19:10",1.26435,0.0,0.0,2926.06,574.31,17492.4,535.158,4359.76,72.8519,0.150148,15375.3,18833.3]
["2026-04-04","19:15",0.0,0.0,0.0,2882.79,529.291,17421.4,531.644,4452.64,73.3036,0.150148,15438.0,18848.7]
["2026-04-04","19:20",0.0,0.0,0.0,3050.9,560.185,17424.9,537.325,4467.49,72.458,0.150148,15229.3,18843.2]
["2026-04-04","19:25",0.0,0.0,0.0,3080.49,561.125,17377.2,512.142,4360.73,72.2349,0.150148,15252.8,18872.6]
["2026-04-04","19:30",0.0,0.0,0.0,3137.92,561.894,17514.4,508.711,4371.94,72.2435,0.150148,15351.3,18834.0]
["2026-04-04","19:35",0.0,0.0,0.0,3107.65,571.437,17458.1,474.294,4374.74,72.468,0.150148,15311.1,18850.4]
["2026-04-04","19:40",0.0,0.0,0.0,3091.32,560.306,17455.7,471.971,4385.08,71.6875,0.150148,15236.2,18847.5]
["2026-04-04","19:45",0.0,0.0,0.0,3131.48,576.876,17582.5,459.255,4251.56,72.3875,0.150148,15277.1,18856.4]
["2026-04-04","19:50",0.0,0.0,0.0,3107.79,560.075,17559.8,456.264,4239.76,72.9706,0.150148,15333.0,18854.8]
["2026-04-04","19:55",0.0,0.0,0.0,3079.34,534.435,17524.8,440.347,4199.04,72.3909,0.150148,15397.9,18862.6]
["2026-04-04","20:00",0.0,0.0,0.0,3118.51,567.639,17419.5,427.514,4314.11,72.6505,0.150148,15381.0,18853.0]
["2026-04-04","20:05",0.0,0.0,0.0,3141.2,564.7,17513.8,403.575,4153.94,72.2248,0.150148,15416.7,18845.1]
["2026-04-04","20:10",0.0,0.0,0.0,3139.07,563.49,17297.0,404.014,4137.72,72.9902,0.150148,15584.7,18837.3]
["2026-04-04","20:15",0.0,0.0,0.0,3100.76,429.782,17377.8,379.701,4042.16,72.8615,0.150148,15555.2,18838.9]
["2026-04-04","20:20",0.0,0.0,0.0,3109.88,422.092,17388.9,369.415,4006.36,72.8968,0.150148,15569.3,18867.3]
["2026-04-04","20:25",0.0,0.0,0.0,3084.97,353.249,17382.6,369.722,3948.04,72.2293,0.150148,15523.7,18852.5]
["2026-04-04","20:30",0.0,0.0,0.0,2775.62,338.85,17502.0,370.583,3912.94,72.5,0.150148,15690.6,18833.2]
["2026-04-04","20:35",0.0,0.0,0.0,2657.0,340.783,17713.2,369.143,3898.32,72.5853,0.150148,15692.0,18870.6]
["2026-04-04","20:40",0.0,0.0,0.0,2521.55,336.37,17876.4,377.066,3841.79,72.7289,0.150148,15781.4,18861.5]
["2026-04-04","20:45",0.0,0.0,0.0,2522.2,340.61,18008.9,354.286,3780.06,73.1352,0.150148,15759.1,18833.4]
["2026-04-04","20:50",0.0,0.0,0.0,2513.61,329.349,17892.4,351.552,3746.82,72.9712,0.150148,15700.3,18835.0]
["2026-04-04","20:55",0.0,0.0,0.0,2491.23,327.298,17795.0,335.52,3704.19,72.3293,0.150148,15620.5,18882.8]
["2026-04-04","21:00",0.0,0.0,0.0,2293.16,331.325,17791.4,318.931,3764.92,72.4842,0.150148,15650.6,18862.0]
["2026-04-04","21:05",0.0,0.0,0.0,2305.04,324.677,17702.8,339.961,3660.18,72.4848,0.150148,15746.0,18873.0]
["2026-04-04","21:10",0.0,0.0,0.0,2016.78,327.006,17770.1,338.051,3631.52,73.4026,0.150148,15863.3,18857.0]
["2026-04-04","21:15",0.0,0.0,0.0,1977.89,315.785,17778.6,350.878,3679.89,71.3321,0.150148,15745.4,18852.2]
["2026-04-04","21:20",0.0,0.0,0.0,1946.73,322.419,17591.1,344.146,3624.1,72.4914,0.150148,15879.5,18872.5]
["2026-04-04","21:25",0.0,0.0,0.0,1457.44,231.819,18000.0,309.498,3515.23,72.3675,0.150148,15973.5,18849.2]
["2026-04-04","21:30",0.0,0.0,0.0,1410.03,235.096,18173.9,308.455,3582.72,72.3407,0.150148,15953.5,18883.6]
["2026-04-04","21:35",0.0,0.0,0.0,1429.29,184.933,18339.1,322.616,3543.96,72.8084,0.150148,15939.8,18815.4]
["2026-04-04","21:40",0.0,0.0,0.0,1294.49,149.423,18293.2,321.072,3542.25,72.2973,0.150148,15755.3,18876.3]
["2026-04-04","21:45",0.0,0.0,0.0,1277.85,151.668,18114.9,343.848,3514.59,72.5273,0.150148,15757.5,18843.6]
["2026-04-04","21:50",0.0,0.0,0.0,1291.15,154.11,18025.7,337.365,3480.64,72.2559,0.150148,15804.3,18846.4]
["2026-04-04","21:55",0.0,0.0,0.0,1296.23,144.62,18074.3,331.608,3446.82,72.1395,0.150148,15825.7,18868.2]
["2026-04-04","22:00",0.0,0.0,0.0,1213.44,146.95,18405.0,320.406,3412.76,72.1136,0.150148,15891.9,18846.7]
["2026-04-04","22:05",0.0,0.0,0.0,1232.47,157.773,19045.2,333.984,3390.19,72.2234,0.150148,16002.5,18840.8]
["2026-04-04","22:10",0.0,0.0,0.0,1306.38,145.363,18920.3,334.448,3369.76,72.4142,0.150148,15752.7,18872.8]
["2026-04-04","22:15",0.0,0.0,0.0,1343.91,150.505,18951.9,340.262,3378.62,72.4924,0.150148,15829.1,18866.4]
["2026-04-04","22:20",0.0,0.0,0.0,1130.26,153.891,19011.0,343.637,3381.25,72.2559,0.150148,15935.2,18872.6]
["2026-04-04","22:25",0.0,0.0,0.0,856.345,152.608,19125.3,343.281,3366.06,72.9813,0.150148,15814.8,18858.4]
["2026-04-04","22:30",0.0,0.0,0.0,696.504,155.148,19214.0,334.431,3365.94,72.1748,0.150148,15749.2,18857.3]
["2026-04-04","22:35",0.0,0.0,0.0,616.289,147.836,19172.5,345.758,3373.74,73.1009,0.150148,15875.0,18850.4]
["2026-04-04","22:40",0.0,0.0,0.0,637.884,150.076,19061.5,342.791,3377.8,73.2924,0.150148,15845.5,18846.9]
["2026-04-04","22:45",0.0,0.0,0.0,636.132,154.944,19022.7,350.076,3380.25,73.0503,0.150148,15857.6,18877.0]
["2026-04-04","22:50",0.0,0.0,0.0,617.165,149.9,18947.7,349.638,3376.68,72.6745,0.150148,15767.5,18866.2]
["2026-04-04","22:55",0.0,0.0,0.0,477.867,128.787,18715.6,357.482,3350.19,72.6631,0.150148,15676.5,18882.3]
["2026-04-04","23:00",0.0,0.0,0.0,490.919,131.359,18550.4,361.974,3364.78,72.9933,0.150148,15850.1,18877.3]
["2026-04-04","23:05",0.0,0.0,0.0,479.265,132.644,19038.4,369.517,3342.88,72.9797,0.150148,15794.5,18840.3]
["2026-04-04","23:10",0.0,0.0,0.0,484.74,132.009,19193.6,373.922,3337.82,72.026,0.150148,15658.4,18859.5]
["2026-04-04","23:15",0.0,0.0,0.0,488.479,132.209,18844.2,408.269,3330.99,72.7346,0.150148,15698.1,18851.1]
["2026-04-04","23:20",0.0,0.0,0.0,486.721,131.125,18501.1,417.197,3329.81,72.398,0.150148,15715.0,18867.1]
["2026-04-04","23:25",0.0,0.0,0.0,479.247,130.546,18395.7,442.287,3341.28,72.1738,0.150148,15728.3,18867.6]
["2026-04-04","23:30",0.0,0.0,0.0,480.527,130.083,18282.5,443.025,3342.43,71.7153,0.150148,15702.0,18865.6]
["2026-04-04","23:35",0.0,0.0,0.0,407.314,39.8019,17768.5,476.399,3367.41,72.8289,0.150148,15716.0,18870.7]
["2026-04-04","23:40",0.0,0.0,0.0,340.603,39.9368,17895.4,495.954,3352.77,72.2377,0.150148,15704.6,18837.4]
["2026-04-04","23:45",0.0,0.0,0.0,199.907,39.9347,17677.9,500.942,3328.06,72.3846,0.150148,15659.9,18871.4]
["2026-04-04","23:50",0.0,0.0,0.0,199.907,40.0771,17332.4,545.497,3332.41,72.789,0.150148,15557.1,18870.9]